1.0	OBJECTIVE

This procedure provides exothermic welding details on work sequence, materials, equipment and safety with reference to drawings, specification, field quality control and Safety Plan pertaining to

this project.

2.0	SCOPE

Method of installation is accordance to latest IEC, IEE, MS, JKR & TNB requirements and local authority standards.

3.0	TOOLS & EQUIPMENT

1.   Exothermic Mould

2.  Handle Clamp

3.  Weld Metal (Powder)

4.  Flint Gun

4.0	SAFETY & ENVIRONMENTAL PROGRAM

- All welding works will be carried-out in accordance with Project Safety Plan, Owner

Safety Procedures and statutory regulations.

- All necessary personal protective equipment will be provided and worn.

- All the tools and equipment used at site must be compliance to safety requirement.

- The site of all work activities will be kept in clean and tidy manner.

- 1 no. fire extinguisher will be standby in case any fire occurred

5.0	REFERENCES

MS ISO 9001: 2015 Element 7.1.6.

6.0 	TESTING METHOD STATEMENT