| Purpose: | This document establishes a structured methodology for the execution of telecommunication works. Its purpose is to ensure that all hazards are systematically identified, risks are evaluated and reduced to a low and acceptable safe level. |
| --- | --- |
| Scope: | Applies to cable installation, routing, termination, testing, commissioning and rack installation for fibre optic and copper telecommunication systems. |
| Duties & Responsibilities: | - Project Manager (PM): Responsible for ensuring that the risk assessment and safe work procedure are reviewed, approved and implemented. He shall ensure adequate resources are allocated and that all works comply with quality and occupational health and safety requirements. - Site Supervisor (SS): Responsible for coordinating site activities, enforcing permit-to-work requirements and ensuring that all control measures identified in the risk assessment are effectively implemented on site. - Safety & Health Officer (SHO) / Site Safety Supervisor (SSS): Responsible to monitor compliance with safety procedures, conduct inspections and verify that risk control measures remain effective throughout the execution of works. - Project Engineer (PENG): Responsible for carrying out installation and testing works in accordance with approved procedures and telecommunication regulations. - Wiring Technician (WT): Responsible to comply with this procedure, properly use personal protective equipment and report any unsafe conditions immediately. |
| ISO Reference: | MS ISO 45001:2018 Clause No. 6.1, 8.1 & 8.2. |

| Revision History |  |  |  |
| --- | --- | --- | --- |
| Revision No. | Revision Date | Originator | Description of Changes |

| Definitions |  |
| --- | --- |
| LOTO | Lockout-Tagout |
| PTW | Permit-to-Work |
| MEWP | Mobile Elevated Work Platform |
| OTDR | Optical Time Domain Reflectometer: fibre testing device |
| Bend Radius | Minimum allowable cable bending to prevent damage |
| Fluke Testing | Certification testing for copper cabling |
| ESD | Electrostatic Discharge: static electricity that can damage equipment |
| Hazard Identification | The primary hazards associated with specialist lighting installation include working at height, exposure to electrical shock and arc flash, falling objects during overhead work, manual handling of luminaires, and potential disruption when interfacing with live systems. |
| Risk Evaluation | Risks are evaluated using a likelihood and severity matrix, and high-risk activities such as work at height and energized testing are subject to strict control measures and permit requirements. |
| Risk Control Measures | Control measures are implemented in accordance with the hierarchy of controls. These include the use of certified access equipment, fall protection systems, LOTO procedures, insulated tools, exclusion zones, and proper lifting techniques. |

| Step | Activity | Responsibility | Reference |
| --- | --- | --- | --- |
| 1 | Risk Assessment Methodology - Likelihood (L): 1–5 - Severity (S): 1–5 - Risk Rating (R = L × S) - Risk Levels: - 1–5: Low - 6–10: Medium - 11–25: High | PM / SHO / SSS |  |
| 2 | Risk Assessment Table | PM / SHO / SSS |  |
| Activity; Hazard; Consequence; L; S; R; Control Measures (Hierarchy Applied); Residual Risk. Cable pulling; Snapback / tension failure; Hand/impact injury; 3; 3; 9 (Med); Use rollers, control pulling tension, trained personnel, gloves; Low. Fibre optic handling; Laser exposure; Eye injury; 2; 4; 8 (Med); Never look into fibre ends, warning labels, trained personnel; Low. Fibre shards; Skin/eye penetration; Injury; 3; 3; 9 (Med); Dispose in sealed container, gloves, eye protection; Low. Work at height; Fall from height; Fatality; 3; 5; 15 (High); MEWP/scaffold, harness, PTW, supervision; Medium. Rack installation; Tipping/crush; Serious injury; 2; 4; 8 (Med); Anchor racks, team lifting, proper handling; Low. Electrical exposure; Shock; Injury/fatality; 2; 4; 8 (Med); LOTO, insulated tools, supervision; Low. Testing activities; Equipment fault; Injury; 2; 3; 6 (Low); Calibrated equipment, trained personnel; Low. Poor housekeeping; Trip hazard; Injury; 4; 2; 8 (Med); Daily housekeeping, cable management; Low. Live data hall work; ESD/system disruption; Equipment failure/outage; 2; 5; 10 (High); ESD control, PTW, restricted access; Low. Confined routing areas; Ergonomic strain; Fatigue/injury; 3; 3; 9 (Med); Work rotation, proper posture, lighting; Low. |
| Step | Activity | Responsibility | Reference |
| 3 | Emergency Preparedness - Eye exposure (fibre/laser): immediate medical response. - Electrical incident: isolate source and escalate, - Fall from height: activate rescue plan. - Incident reporting per site HSE procedure. | PM / SHO / SSS |  |
| 4 | Safe Work Procedure 4.1 Pre-Work Preparation: Approved drawings and cable schedules shall be reviewed. A toolbox talk shall be conducted, and required permits shall be obtained. Tools and test equipment shall be inspected and verified. 4.2 Site Preparation: The work area shall be prepared by ensuring that cable containment systems are ready, access is safe and obstructions are removed. 4.3 Cable Installation: Cables shall be installed using appropriate pulling techniques, ensuring compliance with manufacturer requirements for tension and bend radius. Proper segregation of cables shall be maintained. 4.4 Cable Termination: Termination shall be carried out using proper tools and in accordance with relevant standards. All cables shall be clearly labeled to ensure traceability. 4.5 Fibre Optic Handling: Fibre works shall be performed with strict safety controls, including proper cleaning, handling and disposal of fibre materials and avoidance of direct exposure to fibre ends. | PM / SS PM / SS PM / SS PM / SS PM / SS |  |
| Step | Activity | Responsibility | Reference |
|  | 4.6 Testing and Commissioning: Testing shall be conducted using calibrated equipment, and results shall be recorded and verified against acceptance criteria. Any defects shall be rectified before acceptance. 4.7 Rack and Equipment Installation: Racks shall be securely installed and properly grounded. Equipment shall be handled with ESD protection measures to prevent damage. 4.8 Inspection and Quality Control: All installations shall be inspected to ensure compliance with specifications and any non-conformities shall be corrected. 4.9 Housekeeping and Handover: Upon completion, all tools, materials and waste shall be removed. The work area shall be restored to a safe condition. All documentation, including test reports and as-built drawings, shall be submitted for consultant approval. 4.10 Emergency Preparedness: Emergency procedures shall address fibre-related injuries, electrical incidents, and fall hazards, ensuring prompt response and reporting. | PM / PENG PM / PENG PM / PENG PM / PENG / SS PM / SHO / SSS |  |

| Prepared By: Name: Muhammad Zuhaili Azri Appointment: Safety & Health Officer (SHO) Date: 01 Jan 2026 | Approved By: Name: Ong Lay Cheong Appointment: Managing Director (MD) Date: 01 Jan 2026 |
| --- | --- |

End