## Legal Register
LEGAL REGISTER
Reviewed and Evaluated on:
Reviewed and Evaluated by:
No | Title
1 | Occupational Safety & Health Act 1994 incl. amd 2022
2 | OCCUPATIONAL SAFETY AND HEALTH (CONSTRUCTION WORK) (DESIGN AND MANAGEMENT) REGULATIONS 2024
3 | OSH (Notification of Accident,Dangerous Occurence, Occupational Poisoning and Occupational Disease) Regulations 2004
4 | Occupational Safety & Health (Noise Exposure) Regulations 2019
5 | Electricity Regulation 1994
6 | FIRE SERVICE ACT 1988
7 | FIRE SERVICE (FIRE CERTIFICATE)(AMENDMENT) REGULATIONS 2020

## OSH Act 2022
Occupational Safety & Health Act incl. (Amendment) 2022
BACK TO LISTING
Section/ Regulation | Description | Penalty | Evaluation | Comply? (Y/N)
15 | General duties of employers -Provision and maintenance of plant and system of work; -ensure absence of risk to health with the use or operation, handling, storage and transport of plant and substances; -provide information, instruction, training and supervision; -provision and maintenance of access and egress, working environment and adequate facilities - develop and implement procedures for dealing with emergencies that may arise while his employees are at work | Fine <RM500k or imprisonment for a term < 2 years or to both.
16 | Duty to formulate safety and health policy -prepare and revise the policy statement -any revision of it to the notice of the employees
17 | Ensure he and other person (not being his employees) are not exposed to risks to their safety and health
18 | Duties of an occupier of a place of work to persons other than his employees -Is to ensure that all of access and egress are safe and without risks to health; -prevention of risks to safety and health that may arise from the use of any plant or substance in the place of work
18B | Duty to conduct and implement risk assessment - Conduct a risk assessment in relation to the safety and health risk posed to any person who may be affected by his undertaking at the place of work - Where a risk assessment indicates that risk control is required to eliminate or reduce the safety and health risk, the employer, self-employed person or principal shall implement such control
21 | General duties of manufacturers, etc. as regards substances for use at work (a) to ensure, so far as is practicable, that the substance is safe and without risks to health when properly used; (b) to carry out or arrange for the carrying out of such testing and examination as may be necessary for the performance of the duty imposed on him by paragraph (a); and (c) to take such steps as are necessary to ensure that there will be available in connection with the use of the substance at work adequate information about the results of any relevant test which has been carried out on or in connection with the substance and about any condition necessary to ensure that it will be safe and without risks to health when properly used. (d) to take such steps as are necessary to secure, so far as is practicable, that the persons supplied with the substance are provided with all such revisions of information provided to them under paragraph (c) as are necessary by reason of it becoming known that there is a new risk that could give rise to a serious risk to safety or health. | Fine <RM200k or to imprisonment for a term <2 years or to both
24 | General duties of employees at work -To take reasonable care of himself and other persons; -cooperate with his employer or any other person on the requirement imposed; -wear at all times any protective equipment provided and; -comply with any instruction or measure on OH&S instituted by the employer | Fine <RM2k or to imprisonment for a term < 3 months or to both
25 | Duty not to interfere with or misuse things provided pursuant to certain provisions A person who intentionally, recklessly or negligently interferes with or misuses anything provided or done in the interests of safety, health and welfare in pursuance of this Act shall be guilty of an offence | Fine <RM20k or to imprisonment for a term < 2 years or to both
26 | Duty not to charge employees for things done or provided No employer shall levy or permit to be levied on any employee of his any charge in respect of anything done or provided in pursuance of this Act or any regulation made thereunder | Fine <RM100k or to imprisonment for a term < 1 years or to both
26A | Rights of employees (1) An employee, after informing his employer or his representative that he has reasonable justification to believe there exist an imminent danger at his place of work, shall have the right to remove himself from the danger or the work if the employer fails to take any action to remove the danger. (2) An employee who removes himself from the danger in accordance with subsection (1) shall be protected against undue consequences and shall not be discriminated against. (3) For the purposes of this section, “imminent danger” means a serious risk of death or serious bodily injury to any person that is caused by any plant, substance, condition, activity, process, practice, procedure or place of work hazard.” | Fine <RM100k or to imprisonment for a term < 1 years or to both
27 | Discrimination against employee, etc (1) No employer shall dismiss an employee, injure him in his employment, or alter his position to his detriment by reason only that the employee- (a) makes a complaint about a matter which he considers is not safe or is a risk to health; (b) is a member of a safety and health committee established pursuant to this Act; or (c) exercises any of his functions as a member of the safety and health committee (d) has assisted an officer or assessor in any inquiry in the conduct of any inspection or investigation under this Act | Fine <RM100k or to imprisonment for a term < 1 years or to both
27A | Notice of occupation of place of work - Any person who occupies or uses any premises as a place of work or undertakes any activity in a place of work shall give notice to an officer containing such particulars, and in such manner and within such time, as the Director General may determine. | Fine <RM100k or to imprisonment for a term < 1 years or to both
27C | Installation of plant - No person shall install or cause to be installed any prescribed plant under section 27b unless the person ensures that the plant has fulfilled all the requirements prescribed by the Minister and has obtained the written approval from the Director General | Fine <RM100k or to imprisonment for a term < 1 years or to both
27D | Certificate of fitness (1) No person shall operate or cause or permit to be operated any plant that has been installed under section 27c unless the plant has a certificate of fitness issued by an officer or a licensed person. (2) When a prescribed plant has been installed under section 27c, the person shall serve a written notice on an officer or a licensed person who, after receiving such notice, shall make an inspection of the plant. | Fine <RM100k or to imprisonment for a term < 1 years or to both
27E | Periodical inspection of plant - A plant prescribed under section 27b shall be inspected by an officer or a licensed person at such periods and in such manner as the Minister may prescribe. | Fine <RM100k or to imprisonment for a term < 1 years or to both
27G | Director General may make orders in certain circumstances (1) The Director General may make special orders for the conduct and guidance of persons employed in any service involving the management or operation of, or attendance on, or proximity to, any plant or process carried on in any place of work as appear to him necessary to ensure their safety and health. (2) The employer shall ensure by all reasonable means that the persons exposed to danger are aware of any such special orders made under subsection (1) and those persons shall observe the special orders. (3) For the purposes of subsection (2), a copy of the Director General’s special orders printed or written in the appropriate languages and posted in conspicuous places in the vicinity of the plant or process to which the special orders refer, so that all persons referred to shall have free access and opportunity to read the same, shall be deemed to constitute reasonable means | Fine <RM100k or to imprisonment for a term < 1 years or to both
29A | Occupational safety and health coordinator (1) An employer whose place of work is not included in any class or description of place of work as published in the Gazette under subsection 29(1) shall appoint one of his employees to act as an occupational safety and health coordinator if he employs five or more employees at his place of work. (2) An employee appointed as an occupational safety and health coordinator under subsection (1) shall be appointed for the purpose of coordinating occupational safety and health issues at the place of work. (3) Notwithstanding subsection (1), an employer referred to in subsection (1) who has appointed a safety and health officer at the place of work shall be deemed to have complied with subsection (1). | Fine <RM50k or to imprisonment for a term < 6 months or to both
30 | Establishment of safety and health committee at place of work. (1) Every employer shall establish a safety and health committee at the place of work in accordance with this section if- (a) there are forty or more persons employed at the place of work; or (b) the Director General directs the establishment of such a committee at the place of work. | Fine <RM100k or to imprisonment for a term < 1 years or to both
31A | Occupational safety and health training course (1) The Minister may, by order published in the Gazette, require any class or description of persons to attend an occupational safety and health training course as specified in the order that is conducted by a registered training provider. (2) The employer of any person required to attend any training course under subsection (1) shall ensure that the person has completed such training course before allowing that person to perform any work for which the training is required. (3) Notwithstanding that a person has completed such safety and health training course as is required under this section, the Director General may, if he thinks that a refresher course is necessary, issue a written direction requiring that person to attend another such training course. | Fine <RM50k or to imprisonment for a term < 6 months or to both
32 | Notification of accidents, dangerous occurrence occupational poisoning and occupational diseases, and inquiry (1) An employer shall notify the nearest occupational safety and health office of any accident, dangerous occurrence, occupational poisoning or occupational disease which has occurred or is likely to occur at the place of work. | Fine <RM100k or to imprisonment for a term < 1 years or to both
34A | Duties of the owner, occupier, etc., in inquiry The owner or occupier of, or any employer in, any place of work and any employee of the owner, occupier or employer, shall provide such assistance needed for the purposes of any inquiry under this Act | Fine <RM100k or to imprisonment for a term < 1 years or to both
35 | Power to prohibit the use of plant or substance. (1) Notwithstanding any written law to the contrary, the Director General may by order published in the Gazette prohibit the use of any plant or substance which in his opinion is likely to affect the safety and health of persons at work | Fine <RM500k or imprisonment for a term < 2 years or to both.
46 | Employer, etc., to assist officer The owner or occupier of, or employer at, any place of work and the agent or employee of the owner, occupier or employer shall provide such assistance as the officer may require for any entry, inspection, examination or inquiry or for the exercise of his powers under this Act. | Fine <RM100k or to imprisonment for a term < 1 years or to both
49 | Penalty for failure to comply with notice (1) A person to whom an improvement or a prohibition notice is issued under section 48 must comply with the same notwithstanding that an appeal against its issuance has been lodged. | Fine <RM500k or to imprisonment for a term < 2 years or to both and to a further fine of RM2k for each day during which the offence continues

## OSH(CDM)2024
OCCUPATIONAL SAFETY AND HEALTH (CONSTRUCTION WORK) (DESIGN AND MANAGEMENT) REGULATIONS 2024
BACK TO LISTING
Regulation No. | Regulation Title | Legal Requirement | Responsible Party | Compliance Actions | Penalties for Non-Compliance | Evaluation | Comply? (Y/N)
4 | Project Management | Clients must allocate sufficient time, resources, and funds for safe construction. | Client | Allocate resources and ensure safety measures are in place. | Fine up to RM500,000 or not more than 1-year imprisonment or both
5 | Pre-Construction Information | Clients must provide relevant safety & health information before work begins. | Client | Provide detailed pre-construction safety information. | Fine up to RM500,000 or not more than 1-year imprisonment or both
6 | Safety & Health Compliance | Clients must ensure compliance by designers & contractors. | Client | Monitor and enforce compliance with safety requirements. | Fine up to RM500,000 or not more than 1-year imprisonment or both
7 | Appointment of Principal Designer & Contractor | Clients must appoint a principal designer & contractor if multiple contractors are involved. | Client | Formally appoint a principal designer and contractor. | Fine up to RM500,000 or not more than 1-year imprisonment or both
8 | Notification to Authorities | Clients must notify authorities if work exceeds 30 days or involves more than 500 person-days. | Client | Submit notification to authorities before starting work. | Fine up to RM100,000 or not more than 1-year imprisonment or both
10 | General Duties | All parties must be competent in safety & health matters. | All parties | Ensure all personnel are trained and competent. | Fine up to RM100,000 or not more than 1-year imprisonment or both
11 | Duties of Designers | Designers must eliminate risks in design and inform contractors of hazards. | Designer | Design structures with safety in mind, eliminating hazards. | Fine up to RM200,000 or not more than 1-year imprisonment or both
12 | Principal Designer's Duties | Principal Designer must coordinate safety planning in pre-construction phase. | Principal Designer | Coordinate and document safety planning in design phase. | Fine up to RM200,000 or not more than 1-year imprisonment or both
13 | Construction Phase Plan | Principal Contractor must develop a safety plan before starting work. | Principal Contractor | Develop and implement a construction phase safety plan. | Fine up to RM500,000 or not more than 1-year imprisonment or both
14 | Safety & Health File | A safety & health file must be maintained for future reference. | Principal Designer | Maintain a health and safety file throughout the project. | Fine up to RM500,000 or not more than 1-year imprisonment or both
15 | Principal Contractor’s Duties | Principal Contractor must manage safety throughout construction. | Principal Contractor | Supervise and ensure safety compliance during construction. | Fine up to RM500,000 or not more than 1-year imprisonment or both
16 | Worker Involvement | Principal Contractors must engage workers in safety planning. | Principal Contractor | Engage and communicate with workers about safety. | Fine up to RM500,000 or not more than 1-year imprisonment or both
17 | Contractor’s Duties | Contractors must ensure safe work practices and provide training. | Contractor | Implement safe work practices and provide training. | Fine up to RM500,000 or not more than 1-year imprisonment or both
18 | Application of General Requirements | General requirements apply to all construction sites. | Contractor | Follow all general construction safety requirements. | Fine up to RM500,000 or not more than 1-year imprisonment or both
19 | Safe construction workplace | Workplaces must be stable, secure, and well-maintained. | Contractor | Ensure safe working conditions and hazard controls. | Fine up to RM500,000 or not more than 1-year imprisonment or both
20 | Good order and security of site | Sites must maintain good housekeeping and security. | Contractor | Maintain a clean and organized construction site. | Fine up to RM500,000 or not more than 1-year imprisonment or both
21 | Structural Stability | Structures must be stable and properly supported. | Contractor | Ensure structures are stable and properly supported. | Fine up to RM500,000 or not more than 1-year imprisonment or both
22 | Demolition Work | Demolition work must be planned and carried out safely. | Contractor | Plan and execute demolitions with safety precautions. | Fine up to RM500,000 or not more than 1-year imprisonment or both
23 | Explosives | Explosives must be stored, transported, and used safely. | Contractor | Store, transport, and use explosives with strict safety protocols. | Fine up to RM500,000 or not more than 1-year imprisonment or both
24 | Excavation Work | Excavation must have adequate support to prevent collapse. | Contractor | Reinforce excavations to prevent collapses. | Fine up to RM500,000 or not more than 1-year imprisonment or both
25 | Cofferdams & Caissons | Cofferdams & caissons must be designed and inspected for safety. | Contractor | Inspect and maintain cofferdams and caissons for safety. | Fine up to RM500,000 or not more than 1-year imprisonment or both
26 | Inspection Reports | Regular safety inspections are required. | Contractor | Conduct regular safety inspections and document findings. | Fine up to RM500,000 or not more than 1-year imprisonment or both
27 | Electrical Installations | Electrical installations must be secure and regularly inspected. | Contractor | Install and maintain safe electrical systems. | Fine up to RM500,000 or not more than 1-year imprisonment or both
28 | Drowning Prevention | Measures must be taken to prevent drowning risks. | Contractor | Implement drowning prevention measures near water. | Fine up to RM500,000 or not more than 1-year imprisonment or both
29 | Traffic Management | Safe routes must be designated for pedestrians and vehicles. | Contractor | Designate and maintain safe traffic routes. | Fine up to RM500,000 or not more than 1-year imprisonment or both
30 | Construction Vehicles | Construction vehicles must be properly controlled and operated safely. | Contractor | Control and inspect construction vehicles regularly. | Fine up to RM500,000 or not more than 1-year imprisonment or both
31 | Fire, Flood & Suffocation Risks | Fire, flood, and suffocation risks must be assessed and controlled. | Contractor | Assess and mitigate fire, flood, and suffocation risks. | Fine up to RM500,000 or not more than 1-year imprisonment or both
32 | Emergency Procedures | Emergency procedures must be in place and tested regularly. | Contractor | Establish and regularly test emergency procedures. | Fine up to RM500,000 or not more than 1-year imprisonment or both
33 | Emergency Exits | Adequate escape routes must be provided. | Contractor | Ensure clear and adequate emergency exits. | Fine up to RM500,000 or not more than 1-year imprisonment or both
34 | Fire Detection & Equipment | Fire detection and equipment must be available. | Contractor | Install and maintain fire detection and suppression systems. | Fine up to RM500,000 or not more than 1-year imprisonment or both
35 | Fresh Air & Ventilation | Work areas must have adequate ventilation. | Contractor | Provide proper ventilation in work areas. | Fine up to RM500,000 or not more than 1-year imprisonment or both
36 | Temperature & Weather Protection | Work must consider weather risks. | Contractor | Implement weather protection for outdoor work. | Fine up to RM500,000 or not more than 1-year imprisonment or both
37 | Lighting | Construction sites must be well-lit for safety. | Contractor | Ensure construction sites have proper lighting. | Fine up to RM500,000 or not more than 1-year imprisonment or both
38 | Safety & Health Assistants | Safety & health assistants may be appointed to assist in compliance to the Regulations | Contractor | Appoint safety assistants to oversee compliance. | NA
39 | Site safety syupervisor | Aappoint a site safety supervisor to assist him in complying with the duties imposed upon him by or under these Regulations. | Principal Contractor | Appoint SSS to oversee compliance. | Fine up to RM50,000 or not more than 6-months imprisonment or both

## OSH(CLASS)2013
Occupational Safety and Health (Classification, Labelling and Safety Data Sheet of Hazardous Chemicals) Regulations, 2013
BACK TO LISTING
Section/ Regulation | Description | Penalty | Evaluation | Comply? (Y/N)
6(1) | Packaging requirement of hazardous chemical A supplier shall ensure that a hazardous chemical is supplied in a packaging which satisfies the following requirements: (a) if the packaging is a container, the container shall be so designed and constructed so as to ensure that the hazardous chemical cannot escape unless a safety device is fitted to the container; (b) the packaging and its fastening shall be strong and able to retain the hazardous chemical to meet the normal stress and strain handling; (c) the materials constituting the packaging and fastening shall not be susceptible to adverse attack by the hazardous chemical or liable to form harmful or dangerous compounds with the hazardous chemical;and (d) if the packaging is a container fitted with replaceable fastening devices, the fastening devices shall be so designed so as to ensure that the packaging may be repeatedly fastened without the hazardous chemical escaping. | Fine <RM10k or to imprisonment for a terrn < 1 years or to both and to a further fine of RM1k for everyday or part of the day during which the offence continues
7(1) | Seal of packaging A supplier shall ensure that every packaging of a hazardous chemical is initially closed with a seal in such a way that once the packaging is opened, the seal is broken and cannot be repaired.
8(1) | Duty to label packaging of hazardous chemical A supplier shall label every packaging of a hazardous chemical legibly and indelibly containing the following information: (a) the product identifier; (b) the supplier identification; (c) the signal word; (d) the hazard statement; (e) the hazard pictogram; and (f) the precautionary statement. | Fine <RM10k or to imprisonment for a terrn < 1 years or to both and to a further fine of RM1k for everyday or part of the day during which the offence continues
8(2) | Notwithstanding subregulation (1), if the packaging of the hazardous chemical is a container of 125 ml in size and below, the packaging shall be labelled legibly and indelibly containing the following information: (a) the product identifier; (b) the supplier identification; (c) the signal word; (d) the hazard pictogram, if applicable; and (e) a statement which reads “read Safety Data Sheet before use”
8(3) | The information referred to in subregulations (1) and (2) shall be (a) in accordance with the hazard pictogram, signal word and hazard statement as specified in the First Schedule; (b) in accordance with the labeling requirements as specified in Part 3 of the Industry Code of Practice; and (c) in the national language and English language
8(4) | If the signal word “Danger” is used on a label, the signal word “Warning” shall not be used on the label
8(5) | If a hazardous chemical is classified within several hazard classes, all hazard statements resulting from the classification shall be used on the label unless there is evidence of duplication or redundancy
8(6) | Notwithstanding subregulation (5), the combined hazard statements as specified in the Third Schedule, where applicable, shall be used on the label and not the corresponding individual hazard statement as specified in the First Schedule
8(7) | If there is any change to the classification of the hazardous chemical resulting in a new hazard which is more severe than an existing hazard, the supplier shall ensure that the label is updated within three months from the date of such change taking into account the effect of such change to the protection of human health and environment.
9 | Requirement for hazard pictogram | Fine <RM10k or to imprisonment for a terrn < 1 years or to both and to a further fine of RM1k for everyday or part of the day during which the offence continues
10 | Rules of precedence for hazard pictograms and hazard statements on label
11 | Dimension of label
12 | Affixing and tagging of label
13(1) | Duty to furnish Safety Data Sheet (1) A supplier shall furnish a Safety Data Sheet to a chemical recipient | Fine <RM10k or to imprisonment for a terrn < 1 years or to both and to a further fine of RM1k for everyday or part of the day during which the offence continues
13(2) | (2) A Safety Data Sheet shall contain the information relating to a hazardous chemical supplied and chemical mixture referred to in subregulation (1) according to the specified requirements
13(3) | The information referred to in subregulation (2) shall be— (a) in accordance with the minimum requirement of a Safety Data Sheet as specified in Part 3 of the Industry Code of Practice; and (b) in the national language and English language.
13(4) | A supplier shall revise a Safety Data Sheet referred to in subregulation (1) if (a) new information on a particular hazardous chemical becomes available; (b) more than five years have elapsed since the last date of preparation or revision of the Safety Data Sheet; or (c) so directed by an officer.
13(5) | The supplier shall furnish the revised Safety Data Sheet under subregulation (4) to the chemical recipient as soon as practicable after such revision
14(1) | Inventory of hazardous chemicals An importer or a manufacturer, as the case may be, shall prepare an inventory of hazardous chemicals consisting of information on each hazardous chemical imported or supplied in a quantity of one metric tonne and above per year for each calendar year. | Fine <RM10k or to imprisonment for a terrn < 1 years or to both and to a further fine of RM1k for everyday or part of the day during which the offence continues
14(2) | The inventory of hazardous chemicals for each calendar year shall be submitted to the Director General not later than 31 March of the following year.
14(3) | The inventory of hazardous chemicals shall contain the following information: (a) the product identifier; (b) the name of the hazardous chemical; (c) the composition and ingredients of a hazardous chemical; (d) the hazard classification; and (e) the total quantity of each hazardous chemical imported or supplied.
14(4) | For the purposes of paragraphs (3)(b) and (c), the name of the hazardous chemical, and composition of the ingredients of the hazardous chemical shall include the CAS Registry Numbers, if applicable
14(5) | An inventory of hazardous chemicals shall be maintained in good condition and in an orderly manner.

## OSH(USECHH)2000
Occupational Safety & Health (Use & Standards of Exposure of Chemicals Hazardous to Health) Reg 2000
BACK TO LISTING
Section/ Regulation | Description | Penalty | Evaluation | Comply? (Y/N)
5 | Register of chemicals hazardous to health 1) An employer shall identify and record in a register all chemicals hazardous to health used in the place of work; 2) Information in chemical register: a) List of chemicals used b) CSDS c) Average quantity used or stored per month. d) Process and work area the chemical is used e) Name & address of supplier of each chemicals. 3)The chemical register shall be accessible to all employees at the workplace | Fine <RM10k or to imprisonment for a terrn < 1 years or to both
6 | Ceiling limit An employer shall ensure that the exposure of any chemical hazardous to health listed in Schedule 1 at no time exceeds the ceiling limit specified for that chemical in that schedule
7 | Eight-Hour time-weighted average 1) An employer shall ensure that the exposure of any person to any chemical hazardous to health listed in Schedule 1 in any eight hour work shift of a work week does not exceed the eight-hour time weighted average airborne concentration specified for that chemical in that Schedule. 2) The exposure of any person to any chemical hazardous to health listed in Schedule 1 shall not exceed the maximum exposure limit for that chemical during the work shift.
8 | Compliance with permissible exposure limit using respirator The degree of protection afforded by the respirator for the periods during which the respirator is worn shall be taken into account
9 | Assessment of risk to health 1) An employer shall not carry out any work which may expose or is likely to expose any employee to any chemical hazardous to health unless he has made a written assessment of the risks created by the chemical to the health of the employee 2) Assessment Content shall consist of Reg. 9 Sub Reg. (2) (a)-(j)
10 | Review assessment The assessment carried out under Regulation 9 shall be reviewed if: - a) There has been a significant change in the work to which the assessment relates; b) More than five years have elapsed since the last assessment; or c) Directed by the DG of DOSH
11 | Assessment to be carried out by an assessor Employer shall ensure that any assessment to be carried out pursuant to this Part is conducted by an assessor
12 | Assessment of risk to health report 1) Assessor to complete the assessment, furnish the employer with a report within a month. 2) If the assessor report indicates immediate danger, the assessor shall notify the employer immediately
13 | Assessment report 1) The employer shall ensure that the report of the assessment conducted pursuant to Regulation 9 or 10 is maintained in good order and condition for a period of thirty years. 2) The employer shall make available the assessment report for examination upon request by the Director General or by any employee exposed or likely to be exposed to chemical hazardous to health.
14 | Action to control exposure 1) An employer shall carry out action which may includes changes to work process, practices, procedures, plants or engineering control equipment within one month after receiving the assessment report from the assessor. 2) All control measures under sub-regulation (1),reduce the exposure level to the lowest practicable level or below the limits (PEL)
15 | Control measure 1) The employer shall control chemical hazardous to health through (a)-(h) control measures. 2) All safe work systems and practices are documented and implemented. 3) All safe works systems and practices are reviewed.
16 | Use of approved personal protective equipment 1) Approved personal protective shall be used - a) Where the application of control measures specified in Reg. 15 Sub-Reg. (1)(a) to (g) would be impracticable. b) As an interim measure while other preferred control measures are being designed and install; or c) Where the measure taken to comply with Reg. 15 Sub-Reg. (1)(a) to (g) do not adequately control an employee’s exposure to chemicals hazardous to health. 2) Employer shall establish and implement procedures on the issuance, maintenance, inspection and training in the use of the approved personal protective equipment. 3) The approved personal protective equipment to employees pursuant to sub regulation (1) shall be: a) suitable to the type of work in which they are employed. b) Fit the employees c) Not adversely affect the health or medical condition of the employees; and d) be in sufficient supply and readily available
20 | Duty of employer to ensure labelling 1) To ensure that all chemicals hazardous to health are labeled and that the labels are not removed, defaced, modified or altered; 2) Relabel the chemical if label is removed, defaced, modified or altered
21 | Re-labelling (1) When a chemical hazardous to health is transferred to another container, other than that in which it was originally supplied, and the contents of that container are not used within a normal workshift, the employer shall ensure that the container is relabelled
22 | Information, instruction and training (1) Employer shall provide the employees with such information, instruction and training as may be necessary to enable them to know – (a) the risk to health created by such exposure; and (b) the precautions which should be taken. (2) The information provided shall include – (a) information on the results of any monitoring of exposure at the place of work (b) information on the collective results of any health surveillance programme undertaken (3) The employer shall review and conduct the training programme – (a) at least once in two years; (b) if there is a change in the hazard information on the chemicals hazardous to health, safe work practices or control measures; or (c) each time employees are assigned to new tasks or new work areas where they are exposed or likely to be exposed to chemicals hazardous to health. (4) All training programmes shall be documented and kept for inspection by any occupational safety and health officer.
23 | Information, instruction and supervision of person Ensure that any person and who carries out any work in connection with the employer's duties under these Regulations has the necessary information, instruction and supervision to carry out such duties
24 | Chemical Safety Data Sheet An employer who receives a supply of chemicals hazardous to health for which the chemicals are not labelled or the Chemical Safety Data Sheets have not been provided, shall obtain the relevant information from the supplier and shall not use the chemicals until such information is obtained.
25 | Provision of Chemical Safety Data Sheet in a place of work In any place of work where a chemical hazardous to health is used, the current Chemical Safety Data Sheet for that chemical or a copy thereof shall be kept in a conspicuous place close to each location where that chemical is used, and shall be easily accessible to the employees.
26 | Monitoring of exposure (1) Where an assessment of risk to health indicates that monitoring of exposure is required or it is requisite for ensuring the maintenance of adequate control of the exposure of employees to chemicals hazardous to health, the employers shall ensure that the exposure of employees to chemicals hazardous to health is monitored in accordance with an approved method of monitoring and analysis. (2) If an employee is exposed or likely to be exposed to chemicals hazardous to health listed in Schedule II, the monitoring of exposure of employees determined in subregulation (1) shall be repeated at intervals of not more than six months or at such shorter intervals as determined by the assessor and the monitoring of exposure shall continue at this frequency until such time the assessor is satisfied that further monitoring of exposure is no longer required. (3) The monitoring of exposure shall be conducted by a hygiene technician unless the monitoring is confined to checking the presence of toxic or flammable gases and the level of oxygen in a confined space before entry. (4) The employer shall maintain in good order and condition any record or summary of the record of any monitoring carried out for the purpose of these Regulations and shall be kept available - (a) where the record is representative of the personal exposure of a person exposed to any chemical hazardous to health, for at least thirty years; and (b) in any other case, for at least five years.
27 | Health surveillance programme -Employer to carry out health surveillance programme if required -If an employee is exposed to chemicals listed in Schedule II, the health surveillance shall be conducted at least once every 12 months -Employer to maintain health surveillance record for at least 30 years
28 | Medical removal protection 1) Employer shall remove an employee from any work exposed to chemicals hazardous to health if the employee has a medical condition; 2) Employer shall remove pregnant or breastfeeding employee from any work exposed to chemicals hazardous to health 3) Employer shall return an employee to his former job if conditions in Reg 28 (1) and (2) is no longer applicable
29 | Warning sign 1) Where a chemical hazardous to health is used in any area: a) Post warning signs at every entrance to the area; b) Provide relevant information to persons at risk 2) Warning signs are illuminated and cleaned so that it is visible
30 | Retention of records by employer 1) When an employer ceases his business, he shall hand over the records to his successor or DG; 2) Employer to provide 3 months’ notice to DG if he intends to dispose such records

## OSH(NADOOPOD) 2004
OSH (Notification of Accident,Dangerous Occurence, Occupational Poisoning and Occupational Disease) Regulations 2004
BACK TO LISTING
Section/ Regulation | Description | Penalty | Evaluation | Comply? (Y/N)
5 | Notification and reporting of accident and dangerous occurrence Accident arising from work that caused death, serious bodily injury as specified in Schedule 1 which prevents the person from following his normal occupational for more than 4 calendar days or dangerous occurrence as specified in Schedule 2, the employer must notify nearest DOSH by quickest means available and send the official report (JKKP Form 6) within 7 days | Fine <RM10k or to imprisonment for a terrn < 1 years or to both
7 | Reporting of cases of occupational poisoning and occupational disease All occupational poisonings and occupational diseases as stated in 3rd Schedule shall be reported within 7 days (JKKP Form 7)
9 | No interference at accident or dangerous occurrence scene Where the accident or dangerous occurrence causes the death of any person or serious bodily injury to any person or serious damage and dangerous to plant or other property, no person shall, unless authorized to do so, remove or in any way interfere with or disturb any plant, substance, article or thing related to the incident except to the extent necessary to— (a) save the life of, prevent injury to, or relieve the suffering of any person; (b) maintain the access of the general public to an essential service or utility; or (c) prevent further damage to or serious loss of property or environment.
10(1) | Records Every employer and self-employed person shall record and maintained a register a)all accidents and dangerous occurrence which have occurred b) all occupational poisonings or occupational diseases which have occurred or are likely to occur (JKKP Form 8)
10(2) | The record shall be kept for 5 years
10(3) | The employer shall send to DG the extract from the register for the period of 1st January to 31st December before 31st January of each year.

## OSH(Noise)2019
OSH (Noise Exposure) Regulations 2019
BACK TO LISTING
Section/ Regulation | Description | Penalty | Evaluation | Comply? (Y/N)
3 | Identification of excessive noise (1) Every employer shall identify whether his employee may be exposed to excessive noise in the place of work in the manner as determined by the Director General. (2) The employer shall reidentify whether his employee may be exposed to excessive noise in the place of work under subregulation (1)— (a) if there is a change in the machinery, equipment, process, work, control measures or operation at the place of work which may expose his employee to excessive noise; (b) not more than one year after the date of the previous identification; or (c) if directed to do so by the Director General. | Fine <RM10k or to imprisonment for a terrn < 1 years or to both
4 | Noise risk assessment (1) Where it appears to the employer, upon the identification made under subregulation 3(1), that any of his employees may be exposed to excessive noise, the employer shall appoint a noise risk assessor to carry out noise risk assessment. | Fine <RM10k or to imprisonment for a terrn < 1 years or to both
5 | Information, instruction, training and supervision (1) Where it appears to an employer that any of his employees is exposed to an excessive noise based on the report referred to in subregulation 4(4), the employer shall— (a) provide adequate information relating to the effects of noise exposure on the hearing of a person and the requirement to undergo an audiometric testing to such employees; (b) give training and instruction on the proper usage of a personal hearing protector to such employees; and (c) supervise the implementation of noise exposure control at the place of work. (2) An employer shall provide training for the employee referred to in subregulation (1) at least once a year. | Fine <RM10k or to imprisonment for a terrn < 1 years or to both
6 | Noise exposure limit (1) Every employer shall ensure that none of his employee is exposed to— (a)the daily noise exposure level exceeding 85dB(A) or daily personal noise dose exceeding hundred per cent; (b)the maximum sound pressure level exceeding 115dB(A) at any time; or (c)the peak sound pressure level exceeding 140dB(C). | Fine <RM10k or to imprisonment for a terrn < 1 years or to both
7 | Personal hearing protector (1) Where an employer provides a personal hearing protector to an employee to reduce excessive noise, the employer shall ensure that the personal hearing protector— (a)is suitable and efficient; (b)is properly inspected, maintained and made available at all time; (c)will reasonably attenuate the employee’s personal noise exposure below the limit specified in paragraph 6(1)(a), (b) or (c) when the personal hearing protector is worn properly; and (d)is approved by the Director General. | Fine <RM10k or to imprisonment for a terrn < 1 years or to both
8 | Hearing protection zone (1) Anemployer shall ensure that any area at the place of work where a person is exposed to excessive noise exceeding the limit specified in paragraph 6(1)(a), (b) or (c)— (a)is marked with the words “HEARING PROTECTION ZONE” or in such other manner as determined by the Director General; and (b)so far as practicable, is demarcated and identified by an appropriate warning sign. (2)Anemployer shall— (a)provide a personal hearing protector in any hearing protection zone; and (b)ensure that any employee or other person uses the _ personal hearing protector provided under paragraph (a) while in the hearing protection zone. | Fine <RM10k or to imprisonment for a terrn < 1 years or to both
9 | Audiometric testing (1) Where a noise risk assessment report referred to in subregulation 4(4) shows that any employee is exposed to excessive noise exceeding the limit specified in paragraph 6(1)(a), (b) or (c), the employer shall cause an audiometric testing to be carried out on such employee annually. | Fine <RM10k or to imprisonment for a terrn < 1 years or to both
10 | Duty of employer when audiometric testing is carried out (1)For the purpose of the audiometric testing under regulation 9, the employer shall— (a) ensure that the audiometric testing is carried out at no cost to the employee; (b) ensure that the audiometric testing is carried out within three months after the employee commencing work at any area of the place of work which is exposed to the noise exceeding the limit specified in paragraph 6(1)(a), (b) or (c); and (c) ensure that the audiometric testing is carried out after the employee isbeing put in a quiet state of at least fourteen hours without the aid of personal hearing protector. | Fine <RM10k or to imprisonment for a terrn < 1 years or to both
11 | Record to be kept (1)Anemployer shall keep and maintain a record which contains the following: (a)the report of the noise risk assessment referred to in subregulation 4(4) for a period of not less than thirty years; and (b)the report of the audiometric testing of his employee referred to in subregulation 9(7) for so long as the employee is employed by him and for a period of five years after such employee ceases to be his employee. (2)Where an employer ceases to carry on business and other person takes over such business, the employer shall hand over all records referred to in paragraphs (1) (a) and (b) to that other person who takes over such business, and that other person shall keep and maintain such records for a period specified in paragraphs (1)(a) and (b) respectively. (3)At the expiration of the period referred to in paragraphs (1)(a) and (b), the employer shall give the Director General at least three months notice in writing of his intention to dispose of such records, and the employer shall transmit the records to the Director General, if so requested. | Fine <RM10k or to imprisonment for a terrn < 1 years or to both

## Electricity Reg 1994
Electricity Regulations 1994
BACK TO LISTING
Regulation No. | Requirement Summary | Action Required | Evaluation | Comply? (Y/N)
Reg. 3 & 4 | Registration of electrical installations with the Energy Commission (ST). | Ensure all electrical project sites are registered with ST and pay the required fees.
Reg. 8 & 9 | License requirement for public and private electrical installations. | Obtain the necessary installation license before operation.
Reg. 11 | Approval required before starting electrical wiring or rewiring. | Secure written approval from ST before starting any new wiring project.
Reg. 12-14 | Electrical works must be supervised by a Competent Person; completion & test certificates must be submitted. | Appoint a Competent Person to supervise work and submit Form G & H to ST.
Reg. 34-36 | All switchboards, transformers, and metal parts must be properly earthed; RCDs must be installed in public areas. | Ensure proper earthing compliance and install Residual Current Devices (RCDs) as required.
Reg. 39-40 | First Aid instructions for electric shock treatment must be displayed, and fire extinguishers must be provided. | Install fire extinguishers, display emergency instructions, and train workers on emergency response.
Reg. 45-51 | Personnel (Wireman, Chargeman, Electrical Supervisor) must have valid ST Competency Certificates. | Employ qualified Competent Persons (Wireman, Chargeman, Engineer) as per project requirements.
Reg. 66-70 | Regular inspections by Competent Persons (Chargeman, Engineer, Supervisor) are required. | Assign a Competent Person for regular inspections and keep records of visits.
Reg. 75-79 | Electrical contractors must register with ST and hold the appropriate license category. | Verify contractor registration and ensure appropriate license category.
Reg. 92-96 | Switchboard manufacturers must register with ST and meet testing and personnel requirements. | Register switchboard manufacturing operations with ST and conduct required product tests.
Reg. 97-100 | All electrical equipment must obtain ST’s Certificate of Approval (CoA) before manufacture/import/sale. | Apply for and obtain CoA for all electrical equipment before sale or use.
Reg. 110-113 | Installations must undergo periodic maintenance, and safety defects must be reported and rectified. | Implement a preventive maintenance plan and establish an incident reporting procedure.

## Fire Service Act 1988
FIRE SERVICE ACT 1988 |  |  | IMS-IP-001-F04 (Rev 1)
BACK TO LISTING
Section/ Regulation | Description | Penalty | Evaluation | Comply? (Y/N)
28 | Fire Service Act 1988 Part V Fire Certificate Section 28 – Requirement of Fire Certificate (1) Every designated premises shall require a fire certificate. (2) A fire certificate shall be renewable annually. (3) Subsection (1) shall not apply to premises appropriated to, and used solely or mainly for, public religious worship, or premises consisting of or comprised in a house that is occupied as a single private dwelling: Provided that if in the opinion of the Director General there exists in the premises mentioned in this subsection any fire hazard, the Director General may require such premises to be subject to periodic inspection and any necessary direction may be issued to the owner of such premises for due compliance of the provisions of this Act. | Fine <RM5k or imprisonment for a term < 3 years or to both.
29 | Fire Service Act 1988 Part V Fire Certificate Section 29 – Application for, and issue of, fire certificate (1) An application for a fire certificate in respect of any designated premises shall be made to the Director General in the prescribed form. (2) On receipt of an application for a fire certificate in respect of any designated premises the Director General may require the applicant, within a specified time, to furnish him with such plans of the premises and any other relevant particulars as he may specify. (3) If the applicant fails to furnish the required plans and the relevant particulars within the specified time, the application shall be deemed to have been withdrawn. (4) Where an application for a fire certificate has been duly made, the Director General shall cause to be carried out an inspection of the designated premises, and on being satisfied that there exists adequate life safety, fire prevention, fire protection and fire-fighting facilities, as the case may be, in relation to the use of the designated premises, the Director General shall issue a fire certificate in respect of the premises subject to such conditions as he thinks fit to impose or which may be prescribed. (5) Where the Director General, after causing to be carried out under subsection (4) an inspection of the relevant premises, is not satisfied that there exists such adequate facilities in relation to the use of the designated premises as aforesaid, he shall, by notice served on the applicant, inform him of the requirements to be complied with within a specified time before the fire certificate can be issued to the applicant. (6) In this section, “applicant” means the owner, occupier or the person having the overall management of the designated premises. | Fine <RM5k or imprisonment for a term < 3 years or to both.

## Fire Cert 2020
FIRE SERVICE (FIRE CERTIFICATE) (AMENDMENT) REGULATIONS 2020 |  |  | IMS-IP-001-F04 (Rev 1)
BACK TO LISTING
Section/ Regulation | Description | Penalty | Evaluation | Comply? (Y/N)
2 | Regulation 2 - Application (1) An application for a fire certificate in respect of designated premises shall be made in the form in the First Schedule and shall be accompanied by a) a certificate of establishment of a fire safety orgainzation b) a copy of Fire and Emergency Response Plan c) a copy of a Fire Safety Report (2) The Director-General may, in his discretion, grant a fire certificate with or without attaching any condition or conditions thereto or refuse to grant a fire certificate. 3) The Fire and Emergency Response Plan and Fire Safety Report shall be prepared by the fire safety organization | Fine <RM5k or imprisonment for a term < 1 year or to both.
6B | Establishment of fire safety organization in respect of designated premises | Fine <RM5k or imprisonment for a term < 1 year or to both.
6C | Application for establishment of fire safety organization | Fine <RM5k or imprisonment for a term < 1 year or to both.
6D | Duties of owner, occupier or person having the overall management of designated presmises | Fine <RM5k or imprisonment for a term < 1 year or to both.
6E | Duties and powers of fire safety organization | Fine <RM5k or imprisonment for a term < 1 year or to both.