## DIF
`
HEXATECH |  |  | ENGINEERING SERVICES |  |  |  | Issue No.: 1 |  | Document Effective Date: 01 Mar 2017 | Page 1 of 1
|  |  | Design Plan Checklist For Electrical Services |  |  |  | Revision No.: 0 |  |  | Document Ref: ENG-REC-DPCES
Customer Name: |  |  |  |  | Project Name : |  |  |  |  | DCES No.:
Project Manager Name: |  |  |  |  | Project Scope of Works: |  |  |  |  | Date:
Details of Re-engineering Required:
No. | Description |  |  |  |  | Check (Please circle) |  |  | Remarks
1 | HT/ MV Distribution
| 1.1 | Suitable power supply requirement |  |  |  | Yes / No
| 1.2 | Material requirement |  |  |  | Yes / No
| 1.3 | Suitable location |  |  |  | Yes / No
| 1.4 | Enough room to fit in |  |  |  | Yes / No
| 1.5 | Cable routing |  |  |  | Yes / No
2 | LV Distribution
| 2.1 | Suitable power supply distribution |  |  |  | Yes / No
| 2.2 | Material requirement |  |  |  | Yes / No
| 2.3 | Suitable location |  |  |  | Yes / No
| 2.4 | Cable routing |  |  |  | Yes / No
3 | Lighting Distribution
| 3.1 | Suitable looping |  |  |  | Yes / No
| 3.2 | Suitable distribution |  |  |  | Yes / No
| 3.3 | Control requirement |  |  |  | Yes / No
| 3.4 | Sufficient lux level |  |  |  | Yes / No
4 | MATV / CCTV / PA
| 4.1 | Cable routing |  |  |  | Yes / No
| 4.2 | Suitable cable size |  |  |  | Yes / No
| 4.3 | Material requirement |  |  |  | Yes / No
| 4.4 | Suitable location |  |  |  | Yes / No
5 | Telephone
| 5.1 | Cable routing |  |  |  | Yes / No
| 5.2 | Sufficient telephone point |  |  |  | Yes / No
| 5.3 | Suitable location |  |  |  | Yes / No
Prepared by: |  |  |  | Verified by: |  |  |  | Approved by:
Signature: |  |  |  | Signature: |  |  |  | Signature:
Name: |  |  |  | Name: |  |  |  | Name:
Appointment: |  |  |  | Appointment: |  |  |  | Appointment:
Date: |  |  |  | Date: |  |  |  | Date: