## REC
HEXATECH |  |  |  | PROJECT DEPARTMENT | [8 empty] | Issue No.: 1 |  | Document Effective Date: 01 Jan 2021 |  |  | Page 1 of 1
|  |  |  | Electrical Test Result | [8 empty] | Revision No.: 0 |  |  |  |  | Document Ref.: PD-REC-ELTR
Project: Contractor Name: | [15 empty] | ETR No.: Date:
SECTION A
To:
From :
Circuit ID : | [9 empty] | Cable Type / Size :
Test Equipments ( Model No / Serial No / Calibration Due Date):
Conducted By Electrical Competent Person as follows :
Name : | [7 empty] | Certificate No: | [7 empty] | Date:
SECTION B
Test or Inspection Result (Open Circuit or No Load Test ) : | [8 empty] | Test |  | Remarks
(1) Electrical Connection (Availability) : | [8 empty] | Yes/No
(2) Visual Inspection (Good Condition and No Damage) : | [8 empty] | Yes/No
(3) Cleanliness (Free of Visible Contamination) : | [8 empty] | Yes/No
(4) Labelling (Easy Identification): | [8 empty] | Yes/No
(5) Megger Insulation in Mega Ohm (Meet Requirements as per Specification)
5.1 | Red to Yellow |  |  |  |  | Red to Neutral | [5 empty] | Red to Earth
5.2 | Yellow to Blue |  |  |  |  | Yellow to Neutral | [5 empty] | Yellow to Earth
5.3 | Blue to Red |  |  |  |  | Blue to Neutral | [5 empty] | Blue to Earth
(6) Continuity Test (Beep Sound or Others)
Red Phase |  | Yes/No |  | Yellow Phase | Yes/No |  | Blue Phase |  | Yes/No |  | Neutral |  | Yes/No | Earth / PE |  |  | Yes/No
(7) Voltage in Volts (Meet Requirements as per Specification)
7.1 | Red to Yellow |  |  |  |  | Red to Neutral | [5 empty] | Red to Earth
7.2 | Yellow to Blue |  |  |  |  | Yellow to Neutral | [5 empty] | Yellow to Earth
7.3 | Blue to Red |  |  |  |  | Blue to Neutral | [5 empty] | Blue to Earth
(8) Polarity Test
8.1 Phase Rotation Test (RYB) : Right / Wrong Rotation
8.2 Outlet and Switch Socket Outlet Test (Status / Total Number) :
8.3 Lighting Point Switch (Status and Total Number)
8.4 Lighting Point (Status and Total Number)
(9) Tripping Test
9.1 Earth Leakage Circuit Breaker or Residual Current Device (ELCB/RCD) : Pass / Fail / (N/A)
9.2 Earth Leakage Relay (ELR) : Pass / Fail / (N/A)
9.3 Earth Fault Relay : Pass / Fail
(10) Light Level Test Result in Lux (if requred ):
(11) Loading Test in Amperes (if required):
Red Phase |  |  |  | Yellow Phase |  |  | Blue Phase |  |  |  | Neutral |  |  | Earth / PE
(12) Validation on any design changes (if required):
SECTION C
ACCEPTANCE CLAUSE
We hereby confirmed the results are within the Scope defined in Section A and B above.
|  |  | Signature |  | Name |  |  |  |  | Responsibility (Company/Position) | [6 empty] | Date : dd/mm/yy
Tested by: | [9 empty] | Hexatech
Witnessed by: | [9 empty] | Client Chargeman
Verified by: | [9 empty] | Client PIC
Accepted by: | [9 empty] | Consultant