| # Project Name: |  | # ESTR No. |  |
| --- | --- | --- | --- |
| # Location: |  | # Date: |  |
| # System to be tested: |  | # Other info: |  |

|  |  | # IO | # IN | # IR | # IM | # ELR |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| # TOU |  |  |  |  |  | # Isum | # time |
| # Switch # Board | # MCCB |  |  |  |  |  |  |
|  | # MCB |  |  |  |  |  |  |
|  | # RCCB |  |  |  |  |  |  |

| # Terminations / glands / cable lugs are tight | # YES / NO |  | # Amps: | # Amps: | # Amps: | # Amps: |
| --- | --- | --- | --- | --- | --- | --- |

# Continuity test (Ω)

|  | # R-R | # Y-Y | # B-B | # N-N | # E-E |
| --- | --- | --- | --- | --- | --- |
| # Cable from: |  |  |  |  |  |

# Insulation test (M Ω)

|  | # Phase-Phase |  |  | # Phase-Neutral |  |  | # Phase-Earth |  |  | # N-E |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | # R-Y | # Y-B | # B-R | # R-N | # Y-N | # B-N | # R-E | # Y-E | # B-E | # N-E |
| # Cable |  |  |  |  |  |  |  |  |  |  |

# Voltage Measured

| # Phase-Phase |  |  | # Phase-Neutral |  |  | # Phase-Earth |  |  | # Neutral-Earth | # DC Volt |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # R-Y | # Y-B | # B-R | # R-N | # Y-N | # B-N | # R-E | # Y-E | # B-E | # N-E |  |

| # Phase rotation correct | # YES / NO |  | # Tester Equipment Name Used | # Tester Brand | # Model | # Serial No. |
| --- | --- | --- | --- | --- | --- | --- |
| # Breaker/ TOU trip tested | # YES / NO |  |  |  |  |  |
| # RCCB tested | # YES / NO |  |  |  |  |  |

# Remarks:

|  | # TESTED BY | # VERIFIED BY | # WITNESSED BY | # ACCEPTED BY |
| --- | --- | --- | --- | --- |
| # COMPANY # NAME |  |  |  |  |
| # Signature |  |  |  |  |
| # Name |  |  |  |  |
| # Appointment |  |  |  |  |
| # Date |  |  |  |  |