## 001
Project Title :________________________________________ |  |  |  | Checklist No.:______________________
Location / Blok :_____________________________________ |  |  |  | Date of Inspection :__________________
Dwg Ref :___________________________________________ |  |  |  | Time :_____________________________
Item | Description | Yes | No | Remarks
1 | Approved brand / make material used
2 | Pipe material as per specification/drawing
3 | Correct Pipe size
4 | Sufficient Pipe support brackets/hanger
5 | Provision of pipe sleeve/opening
6 | Proper Pipe joint/fitting
7 | All valve are installed correctly
8 | All piping insulation is correctly applied
9 | Proper Painting and Protection
10 | Pipe Labeling as perspecification/drawing
11 | Others
Comments :
Prepared by :
Assigned Personnel
Name:___________________
Appointment:______________
Company: ________________
Date: ____________________
Checked by :
Name:___________________
Appointment:_____________
Company: ________________
Date: ____________________
Verified by :
Name:___________________
Appointment:_____________
Company: ________________
Date: ____________________

## Sheet1
HEXATECH | PROJECT DEPARTMENT | Issue No.: 1 | Document Effective Date: 01 Aug 2022 | Page 1 of 1
| Installation Checklist For Chilled Water Pipe | Revision No.: 0 |  | Document Ref.: PD-REC-ICFCWP