## 001
Project Title :________________________________________ |  |  |  | Checklist No.:______________________
Location / Blok :_____________________________________ |  |  |  | Date of Inspection :__________________
Dwg Ref :___________________________________________ |  |  |  | Time :_____________________________
Item | Description | Yes | No | Remarks
1 | All duct dimensions follow approved drawing
2 | All duct work gauge thickness is correct
3 | Correct jointing and sealants used
4 | Ducts are installed in accordance to approved
coordinated drawing (Height & Location)
5 | Hanger/bracket support installed in accordance
to specification and drawing
6 | All dampers fitted in correct position
7 | Access door installed correctly,fastened and sealed
8 | All flexible connections correctly, fastened and sealed
9 | All diffusers and grilles installed and sealed
10 | All dampers are opened
11 | All penetrattions through wall are properly
sealed with approved material
12 | All duct insulation is correctly applied and undamaged
13 | Check duct work for internal cleanliness
14 | Air intake louvers correctly fitted and weather-proofed
Comments :
Prepared by :
Assigned Personnel
Name:___________________
Appointment:______________
Company: ________________
Date: ____________________
Checked by :
Name:___________________
Appointment:_____________
Company: ________________
Date: ____________________
Verified by :
Name:___________________
Appointment:_____________
Company: ________________
Date: ____________________

## Sheet1
HEXATECH | PROJECT DEPARTMENT | Issue No.: 1 | Document Effective Date: 01 Aug 2022 | Page 1 of 1
| Installation Checklist For Ductwork, Grilles, Diffuser & Louvres | Revision No.: 0 |  | Document Ref.: PD-REC-ICFDGDL