## Table 1
HEXATECH |  | PROJECT DEPARTMENT |  |  | Issue No.: 1 |  |  | Document Effective Date: 01 Jul 2020 |  | Page 1 of 1
|  | INSPECTION CHECKLIST FOR EMERGENCY LIGHTING |  |  | Revision No.: 0 |  |  |  |  | Document Ref.: PD-REC-ICFEL
PROJECT NAME : |  |  |  |  | DATE OF INSPECTION :
PACKAGE : |  |  |  |  | TIME OF INSPECTION :
SUPPLIER / SUBCON :
DRAWING REF. NO. :
GRID / ZONE :
LIGHTING TYPE:
BRAND:
MODEL:
ITEM | DESCRIPTION |  |  |  | ACCEPTABILITY |  |  |  |  | REMARKS
[5 empty] | YES | NO |  |  | N/A
1 | Materials to specification
2 | Cable material, size and colour
3 | Light fitting type, number and size
4 | Position and installation of light fitting
5 | Battery power pack charging
6 | Details of illuminated signs
7 | Automatic operation
8 | Circuit tagging/identification
9 | Cleanliness and rubbish cleared away
10 | Repair of floor & walls completed
COMMENTS :
| PREPARED BY HEXATECH : |  | CHECKED BY PMC : | APPROVED BY CLIENT: |  |  | APPROVED BY CONSULTANT:
Name:
Sign:
Date: