## 001
Project Title :________________________________________ |  |  |  | Checklist No.:______________________
Location / Blok :_____________________________________ |  |  |  | Date of Inspection :__________________
Dwg Ref :___________________________________________ |  |  |  | Time :_____________________________
Item | Description | Yes | No | Remarks
A | INDOOR BLOWER UNIT
1 | Approved brand/make & model installed
2 | Correct unit is use at correct location
3 | Correct installed level/height with approved drawing
4 | Mounting bracket and support installed properly
5 | Flexible connection installed correctly
6 | Condensate drain pipe and secondary drain pan
installed properly with gradient
7 | Correct filter installed
8 | Chilled water pipe installed correctly.
9 | Valves and gauges installed correctly.
10 | Electrical connections and control wire termination
done properly
Comments :
Prepared by :
Assigned Personnel
Name:___________________
Appointment:______________
Company: ________________
Date: ____________________
Checked by :
Name:___________________
Appointment:_____________
Company: ________________
Date: ____________________
Verified by :
Name:___________________
Appointment:_____________
Company: ________________
Date: ____________________

## Sheet1
HEXATECH | PROJECT DEPARTMENT | Issue No.: 1 | Document Effective Date: 01 Aug 2022 | Page 1 of 1
| Installation Checklist For Fan Coil Unit (FCU) | Revision No.: 0 |  | Document Ref.: PD-REC-ICFFCU