## 001
Project Title :________________________________________ |  |  |  | Checklist No.:______________________
Location / Blok :_____________________________________ |  |  |  | Date of Inspection :__________________
Dwg Ref :___________________________________________ |  |  |  | Time :_____________________________
Item | Description | Yes | No | Remarks
1 | Approved brand/make & model.
2 | Fan internally clean
3 | Unit properly fastened and accessibility identified
4 | Hanger/bracket support, vibration isolator installed
in accordance to specification and drawing
5 | All flexible connections correctly joint
6 | Check fan direction is correct
7 | Electrical connection properly installed
Comments :
Prepared by :
Assigned Personnel
Name:___________________
Appointment:______________
Company: ________________
Date: ____________________
Checked by :
Name:___________________
Appointment:_____________
Company: ________________
Date: ____________________
Verified by :
Name:___________________
Appointment:_____________
Company: ________________
Date: ____________________

## Sheet1
HEXATECH | PROJECT DEPARTMENT | Issue No.: 1 | Document Effective Date: 01 Aug 2022 | Page 1 of 1
| Installation Checklist For Ventilation Fan | Revision No.: 0 |  | Document Ref.: PD-REC-ICFVF